## TestCase_TC-PERF-001
Performance & Scalability Test Case
LARC Monitoring System — backoffice/labmonitor ¦ larcK6Test/Performance
1. Test Case Identification
Test Case ID | TC-PERF-001
Test Case Title | Scalability & Heterogeneity Load Test — Concurrent Node Ingestion and Dashboard Access
Related Reviewer Comment | "The system was tested only in two rooms with two nodes EnviBox1 and EnviBox2. Are two devices not enough to confirm the scalability of the system? It is necessary to demonstrate the operation of the system in a real heterogeneous environment with dozens of nodes. The limited scale of deployment is a drawback."
Objective | Demonstrate, with an automated load test against the live system, that the LARC monitoring platform scales beyond the originally evaluated 2-node / 2-room deployment: sustain concurrent telemetry from dozens of heterogeneous simulated sensor nodes (multiple device types, firmware versions, and rooms) together with multiple concurrent dashboard viewers, while staying within defined latency and error-rate thresholds.
Test Type | Performance / Load / Scalability Test (non-functional)
Priority | High — directly addresses a reviewer-flagged limitation
2. Test Tool & System Under Test
Test Tool / Framework | Grafana k6 (JavaScript load-testing tool)
Test Script | labmonitor-scalability-test.js (folder: C:\Users\ASUS\larcK6Test)
Supporting Doc | README.md (setup, configuration placeholders, run instructions) — same folder
System Under Test (SUT) | http://larcmonitor.up.ac.th/backoffice/labmonitor
Baseline Being Improved On | Original manual evaluation: 2 rooms, 2 physical nodes (EnviBox1, EnviBox2)
3. Preconditions & Test Environment
Preconditions | 1) k6 is installed on the test machine. 2) A valid backoffice test account (username/password) is available and supplied via the LARC_USERNAME / LARC_PASSWORD environment variables (never hardcoded in the script). 3) LOGIN_PATH, USERNAME_FIELD, PASSWORD_FIELD, and NODE_INGEST_PATH in the script have been confirmed against the real backoffice endpoints (see README.md ‘Action needed before running’). 4) The larcmonitor.up.ac.th server is reachable from the machine running the test.
Test Environment | Target: production/staging instance of larcmonitor.up.ac.th (as used in the paper's deployment). Load generator: a single machine running k6 (client-side simulation of many remote nodes/users).
4. Heterogeneous Node Profiles Simulated (vs. original 2 identical EnviBox nodes)
Device Profile | Firmware | Simulated Sensor Fields | Notes
EnviBox-TempHumidity | v1.2.0 | temperature (°C), humidity (%) | Matches original EnviBox sensor type
EnviBox-CO2 | v1.0.4 | co2_ppm | Additional sensor type
EnviBox-AirQuality | v2.1.0 | pm25, pm10 | Additional sensor type
EnviBox-Light | v1.5.1 | lux | Additional sensor type
EnviBox-Noise | v1.1.0 | db_level (dB) | Additional sensor type
Simulated Rooms (12, vs. original 2) | CE-Lab-101, CE-Lab-102, CE-Lab-103, IT-Lab-201, IT-Lab-202, Faculty-Meeting-Room, Library-StudyRoom-1, Library-StudyRoom-2, Server-Room, Lecture-Hall-A, Lecture-Hall-B, Workshop-1
5. Load Profile / Test Parameters
Parameter | Value | Configurable via
Peak simulated sensor nodes (concurrent) | 50 virtual users | -e NODE_VUS
Peak simulated dashboard viewers (concurrent) | 15 virtual users | -e DASHBOARD_VUS
Ramp-up duration | 2 minutes (0 → peak) | -e RAMP_UP
Steady-state duration | 3 minutes at peak | -e STEADY
Ramp-down duration | 1 minute (peak → 0) | -e RAMP_DOWN
Total test duration | ≈ 6 minutes | sum of the above
Node reporting interval (per simulated node) | 2–5 s (randomized) | script constant
Dashboard refresh interval (per simulated viewer) | 5–10 s (randomized) | script constant
Device-type diversity | 5 distinct profiles | NODE_PROFILES array
Room diversity | 12 simulated rooms | ROOMS array
6. Test Steps
Execution Steps | 1. Confirm LOGIN_PATH, USERNAME_FIELD, PASSWORD_FIELD and NODE_INGEST_PATH match the real backoffice endpoints (capture from browser DevTools Network tab if unconfirmed). 2. Install k6 on the test machine (winget/choco install k6, or k6.io download). 3. Set LARC_USERNAME and LARC_PASSWORD as environment variables (do not hardcode credentials). 4. From the larcK6Test folder, run: k6 run labmonitor-scalability-test.js -e LARC_USERNAME=... -e LARC_PASSWORD=... 5. Let the test run through ramp-up (2m), steady-state (3m) and ramp-down (1m) — ≈ 6 minutes. 6. Watch the live k6 console summary for threshold pass/fail status as it runs. 7. After completion, collect the generated summary.json (written to the same folder). 8. Record the achieved latency percentiles, error rate and throughput at peak load. 9. Compare results against the acceptance criteria (Section 7) and the original 2-node baseline; record findings below for the paper revision / response to reviewers.
7. Expected Result
Expected Result | The system sustains simultaneous telemetry ingestion from 50 concurrent, heterogeneous simulated sensor nodes (5 device types across 12 rooms) together with 15 concurrent dashboard viewers, with request latency and error rates remaining within the acceptance thresholds below — demonstrating scalability well beyond the original 2-node, 2-room deployment cited by the reviewer.
Acceptance Criteria (Pass/Fail Thresholds)
Metric | Threshold | k6 Threshold Key
Overall HTTP request failure rate | < 2% | http_req_failed
Overall HTTP request duration (p95) | < 2000 ms | http_req_duration
Node ingestion request duration (p95) | < 2000 ms | node_ingest_duration
Dashboard load duration (p95) | < 2500 ms | dashboard_load_duration
Login failure rate | < 5% | login_failure_rate
Test verdict | PASS only if ALL k6 thresholds above report ‘pass’ in the run summary | -
8. Execution Record (complete after running the test)
Actual Result
Status (Pass / Fail)
Executed By
Execution Date
Evidence / Attachments | e.g. summary.json, console output, screenshots
Remarks / Notes